## Instructions - start here
Instructions - Start here!!
Step 1 -Go to sheet "Inventory" to familiarise yourself with energy using devices |  |  | Step 3 - Go to sheet "Dashboard" to see your progress
Step 2 - Go to sheet "Month 1" to begin taking energy-saving actions |  |  | Further steps - Repeat above steps for Month 2 and Month 3.
When you're done visit the Final Feedback sheet . . .
. . . and have a look at the Major Investments sheet for more inspiration!
Credits: James Hazelton, Patrick Crittenden, Steven Beletich, Shane Leong, Malcolm Ryan, Chaos Theory Games
Game development funding provided by the City of Sydney

## Inventory
Inventory - Floor 1
Energy-using devices
| Hide / Show | Item | Location | No. of
| Show | Fluorescent batton light twin T8 | Floor 1 | 52
| Show | Exit signs (fluorescent) | Floor 1 | 3
| Show | Desktop computers (on 24/7) | Floor 1 | 28
| Show | Electric fan heater | Floor 1 | 4
| Show | Boiling water unit | Floor 1 | 1
| Show | Large old fridge | Floor 1 | 1
| Show | Photocopier / printer (on 24/7) | Floor 1 | 2
| Show | Microwave oven (standby power) | Floor 1 | 1
| Show | Hot water taps (old) | Floor 1 | 3

## Dashboard
|  |  |  | Energy Dashboard |  |  | 0
0
| Energy cost | Savings for month | Savings to date |  | Annualised savings | Month spend | Accumulated Investment | Net 1yr Saving | Net 5yr Saving
Month 0 | 3338.6869
Month 1 | Incomplete
Month 2 | Incomplete
Month 3 | Incomplete

## Month1
Month 1
It's your first month!!
You are very busy so only have time for two actions to improve energy efficiency.
You don't have a budget, but don't worry - there are still useful things to do!!
Select from the list on the right, then select 'Commit' when you're done.
| Selected Actions |  |  |  | Possible actions
| Action # | Item | Location | Cost | Action # | Item | Location | No. of | Cost
| <<click below>> |  |  |  | 0 | No Action
Action 1 |  | #N/A | #N/A | #N/A | 1 | Implement standby on desktop computers | Floor 1 | 28 | 0
[5 empty] | 2 | Remove dishwasher and wash dishes by hand | Floor 1 | 1 | 0
| <<click below>> |  |  |  | 3 | Remove Electric fan heaters | Floor 1 | 4 | 0
Action 2 |  | #N/A | #N/A | #N/A | 4 | Run existing HVAC system on economy cycle | Floor 1 | 1 | 0
[5 empty] | 5 | Implement standby on photocopiers | Floor 1 | 2 | 0
| <<click below>> |  |  |  | 6 | Remove microwave oven | Floor 1 | 1 | 0
Commit? | No

## Month2
Month 2
Complete Month 1 before considering Month 2!!
| Selected Actions |  |  |  | Possible actions
| Action # | Item | Location | Cost | Action # | Item | Location | No. of | Cost
| <<click below>> |  |  |  | 0 | No Action
Action 1 |  | #N/A | #N/A | #N/A | 1 | Implement standby on desktop computers | Floor 1 | 28 | 0
[5 empty] | 2 | Remove dishwasher and wash dishes by hand | Floor 1 | 1 | 0
| <<click below>> |  |  |  | 3 | Remove Electric fan heaters | Floor 1 | 4 | 0
Action 2 |  | #N/A | #N/A | #N/A | 4 | Run existing HVAC system on economy cycle | Floor 1 | 1 | 0
[5 empty] | 5 | Implement standby on photocopiers | Floor 1 | 2 | 0
| <<click below>> |  |  |  | 6 | Remove microwave oven | Floor 1 | 1 | 0
Action 3 |  | #N/A | #N/A | #N/A | 7 | Install stickers reminding people to turn off lights | Floor 1 | 1 | 10
[5 empty] | 8 | Install timer on boiling water unit | Floor 1 | 1 | 25
|  | Total cost of actions |  | #N/A | 9 | Install timer on microwave oven | Floor 1 | 1 | 25
|  | New budget for month |  | 250
|  | Carried forward to next month |  | #N/A
<<click below>>
Commit? | No

## Month3
Month 3
Complete Months 1 and 2 before considering Month 3!!
| Selected Actions |  |  |  | Possible actions
| Action # | Item | Location | Cost | Action # | Item | Location | No. of | Cost
| <<click below>> |  |  |  | 0 | No Action
Action 1 |  | #N/A | #N/A | #N/A | 1 | Implement standby on desktop computers | Floor 1 | 28 | 0
[5 empty] | 2 | Remove dishwasher and wash dishes by hand | Floor 1 | 1 | 0
| <<click below>> |  |  |  | 3 | Remove Electric fan heaters | Floor 1 | 4 | 0
Action 2 |  | #N/A | #N/A | #N/A | 5 | Implement standby on photocopiers | Floor 1 | 2 | 0
[5 empty] | 6 | Remove microwave oven | Floor 1 | 1 | 0
| <<click below>> |  |  |  | 7 | Install stickers reminding people to turn off lights | Floor 1 | 1 | 10
Action 3 |  | #N/A | #N/A | #N/A | 8 | Install timer on boiling water unit | Floor 1 | 1 | 25
[5 empty] | 9 | Install timer on microwave oven | Floor 1 | 1 | 25
|  | Total cost of actions |  | #N/A | 10 | Install water efficient hot water taps | Floor 1 | 3 | 100
[5 empty] | 11 | Install worm farm fed with waste coffee grounds | Floor 1 | 1 | 200
|  | Carried forward budget | #N/A |  | 12 | Replace exit signs with LED version | Floor 1 | 3 | 600
|  | New budget for month | 2000 |  | 13 | Purchase 4-star dishwasher | Floor 1 | 1 | 900
|  | Total available |  | #N/A
|  | Carried forward to next month |  | #N/A
<<click below>>
Commit? | No

## Final feedback
Final Feedback

## Major investments
Assumptions |  |  |  | Major Investments
Energy cost per kWh | 0.3
Office op hrs p.a. | 3000
Office op hrs p.a. (winter) | 1200
Office op hrs p.a. (summer) | 1800
HVAC upgrades
Current item | Current qty | Current power usage / unit (W) | Current total annual cost | Upgrade item |  | Upgrade cost | Yearly saving | Net 1 year saving | Net 5 year saving | Net 10 year saving | Payback period (yrs)
HVAC system | 1 | 19875 | 23850 | Install new A/C system |  | 7500 | 30% | -345 | 28275 | 64050 | 1.0482
HVAC system | 1 | 19875 | 23850 | Install new A/C system (inverter) |  | 10000 | 50% | 1925 | 49625 | 109250 | 0.83857
HVAC system | 1 | 19875 | 23850 | Replace window glass to high-E |  | 10000 | 20% | -5230 | 13850 | 37700 | 2.0964
HVAC system | 1 | 19875 | 23850 | Install automated blinds for external windows |  | 10000 | 25% | -4037.5 | 19812.5 | 49625 | 1.6771
Solar upgrades
Current item | Current qty | Current power usage / unit (W) | Current total annual cost | Upgrade item | Upgrade unit cost | Upgrade cost | Yearly saving | Net 1 year saving | Net 5 year saving | Net 10 year saving | Payback period (yrs)
Grid power system | 1 | 133547.4778 | 160256.9733 | Install 25kW solar system* |  | 40000 | 12318.75 | -27681.25 | 21593.75 | 83187.5 | 3.2471
Grid power system | 1 | 133547.4778 | 160256.9733 | Install 10kW solar system** |  | 16000 | 4927.5 | -11072.5 | 8637.5 | 33275 | 3.2471
[6 empty] | Kw/day | Total Kw | Saving
|  |  |  | *4.5 hrs per day full solar therefore 112.5kw hours per day |  | 112.5 | 41062.5 | 12318.75
|  |  |  | **4.5 hrs per day full solar therefore 45kw hours per day |  | 45 | 16425 | 4927.5
Lighting upgrades
Current item | Current qty | Current power usage / unit (W) | Current total annual cost | Upgrade item | Upgrade unit cost | Upgrade cost | Yearly saving | Net 1 year saving | Net 5 year saving | Net 10 year saving | Payback period (yrs)
Fluorescent batton light - twin T8 | 52 | 88 | 4118.4 | LED replacement for Fluorescent light twin T8 (high quality) | 200 | 10400 | 75% | -7311.2 | 5044 | 20488 | 3.367
Fluorescent batton light - twin T8 | 52 | 88 | 4118.4 | LED replacement for Fluorescent light twin T8 (low quality) | 100 | 5200 | 50% | -3140.8 | 5096 | 15392 | 2.5253
Fluorescent batton light - twin T8 | 52 | 88 | 4118.4 | T5 replacement for Fluorescent light twin T8 | 150 | 7800 | 31.82% | -6489.6 | -1248 | 5304 | 5.9524

## Options (hidden)
Floor 1 Options
| Master List* |  |  |  |  | Month 1 | [7 empty] | Month 2 | [8 empty] | Month 3
Action # | Item | Location | No. of | Delta capital | Delta energy $ per mnth | Chosen M1* | Remaining actions - row #s | Remaining actions - action #s | Item | Location | No. of | Delta capital | Delta energy $ per mnth | Remaining actions - sorted list * | Chosen M2 | Remaining actions - row #s | Remaining actions - action #s | Item | Location | No. of | Delta capital | Delta energy $ per mnth | Remaining actions - sorted list * | Chosen M3 | Remaining actions - row #s | Remaining actions - action #s | Item | Location | No. of | Delta capital | Delta energy $ per mnth
0 | No Action | [5 empty] | 5 | 0 | No Action |  | 0 | 0 | 0 | 0 |  | 0 |  | No Action |  | 0 | 0 | 0 | 0 |  | 0 |  | No Action |  | 0 | 0 | #REF!
1 | Implement standby on desktop computers | Floor 1 | 28 | 0 | -230 |  | 6 | 1 | Implement standby on desktop computers | Floor 1 | 28 | 0 | -230 | 1 |  | 6 | 1 | Implement standby on desktop computers | Floor 1 | 28 | 0 | -230 | 1 |  | 6 | 1 | Implement standby on desktop computers | Floor 1 | 28 | 0 | -230
2 | Remove dishwasher and wash dishes by hand | Floor 1 | 1 | 0 | 1.56 |  | 7 | 2 | Remove dishwasher and wash dishes by hand | Floor 1 | 1 | 0 | 1.56 | 2 |  | 7 | 2 | Remove dishwasher and wash dishes by hand | Floor 1 | 1 | 0 | 1.56 | 2 |  | 7 | 2 | Remove dishwasher and wash dishes by hand | Floor 1 | 1 | 0 | 1.56
3 | Remove Electric fan heaters | Floor 1 | 4 | 0 | -288 |  | 8 | 3 | Remove Electric fan heaters | Floor 1 | 4 | 0 | -288 | 3 |  | 8 | 3 | Remove Electric fan heaters | Floor 1 | 4 | 0 | -288 | 3 |  | 8 | 3 | Remove Electric fan heaters | Floor 1 | 4 | 0 | -288
4 | Run existing HVAC system on economy cycle | Floor 1 | 1 | 0 | -199 |  | 9 | 4 | Run existing HVAC system on economy cycle | Floor 1 | 1 | 0 | -199 | 4 |  | 9 | 4 | Run existing HVAC system on economy cycle | Floor 1 | 1 | 0 | -199 | 4 |  | 9 | 4 | Run existing HVAC system on economy cycle | Floor 1 | 1 | 0 | -199
5 | Implement standby on photocopiers | Floor 1 | 2 | 0 | -65.7 |  | 10 | 5 | Implement standby on photocopiers | Floor 1 | 2 | 0 | -65.7 | 5 |  | 10 | 5 | Implement standby on photocopiers | Floor 1 | 2 | 0 | -65.7 | 5 |  | 10 | 5 | Implement standby on photocopiers | Floor 1 | 2 | 0 | -199
6 | Remove microwave oven | Floor 1 | 1 | 0 | -0.657 |  | 11 | 6 | Remove microwave oven | Floor 1 | 1 | 0 | -0.657 | 6 |  | 11 | 6 | Remove microwave oven | Floor 1 | 1 | 0 | -0.657 | 6 |  | 11 | 6 | Remove microwave oven | Floor 1 | 1 | 0 | -65.7
7 | Install stickers reminding people to turn off lights | Floor 1 | 1 | 10 | -20.46 |  | 12 | 7 | Install stickers reminding people to turn off lights | Floor 1 | 1 | 10 | -20.46 | 7 |  | 12 | 7 | Install stickers reminding people to turn off lights | Floor 1 | 1 | 10 | -20.46 | 7 |  | 12 | 7 | Install stickers reminding people to turn off lights | Floor 1 | 1 | 10 | -0.657
8 | Install timer on boiling water unit | Floor 1 | 1 | 25 | -20.3719 |  | 13 | 8 | Install timer on boiling water unit | Floor 1 | 1 | 25 | -20.3719 | 8 |  | 13 | 8 | Install timer on boiling water unit | Floor 1 | 1 | 25 | -20.3719 | 8 |  | 13 | 8 | Install timer on boiling water unit | Floor 1 | 1 | 25 | -20.46
9 | Install timer on microwave oven | Floor 1 | 1 | 25 | -0.38325 |  | 14 | 9 | Install timer on microwave oven | Floor 1 | 1 | 25 | -0.38325 | 9 |  | 14 | 9 | Install timer on microwave oven | Floor 1 | 1 | 25 | -0.38325 | 9 |  | 14 | 9 | Install timer on microwave oven | Floor 1 | 1 | 25 | -20.3719
10 | Install water efficient hot water taps | Floor 1 | 3 | 100 | -12.7324 |  | 15 | 10 | Install water efficient hot water taps | Floor 1 | 3 | 100 | -12.7324 | 10 |  | 15 | 10 | Install water efficient hot water taps | Floor 1 | 3 | 100 | -12.7324 | 10 |  | 15 | 10 | Install water efficient hot water taps | Floor 1 | 3 | 100 | -0.38325
11 | Install worm farm fed with waste coffee grounds | Floor 1 | 1 | 200 | 0.0001 |  | 16 | 11 | Install worm farm fed with waste coffee grounds | Floor 1 | 1 | 200 | 0.0001 | 11 |  | 16 | 11 | Install worm farm fed with waste coffee grounds | Floor 1 | 1 | 200 | 0.0001 | 11 |  | 16 | 11 | Install worm farm fed with waste coffee grounds | Floor 1 | 1 | 200 | -12.7324
12 | Replace exit signs with LED version | Floor 1 | 3 | 600 | -7.227 |  | 17 | 12 | Replace exit signs with LED version | Floor 1 | 3 | 600 | -7.227 | 12 |  | 17 | 12 | Replace exit signs with LED version | Floor 1 | 3 | 600 | -7.227 | 12 |  | 17 | 12 | Replace exit signs with LED version | Floor 1 | 3 | 600 | 0.0001
13 | Purchase 4-star dishwasher | Floor 1 | 1 | 900 | -7.8 |  | 18 | 13 | Purchase 4-star dishwasher | Floor 1 | 1 | 900 | -7.8 | 13 |  | 18 | 13 | Purchase 4-star dishwasher | Floor 1 | 1 | 900 | -7.8 | 13 |  | 18 | 13 | Purchase 4-star dishwasher | Floor 1 | 1 | 900 | -7.227
14 | Install energy efficient fridge | Floor 1 | 1 | 1200 | -31.25 |  | 19 | 14 | Install energy efficient fridge | Floor 1 | 1 | 1200 | -31.25 | 14 |  | 19 | 14 | Install energy efficient fridge | Floor 1 | 1 | 1200 | -31.25 | 14 |  | 19 | 14 | Install energy efficient fridge | Floor 1 | 1 | 1200
15 | Replace boiling water unit with instant boiler | Floor 1 | 1 | 2000 | -7.8353 |  | 20 | 15 | Replace boiling water unit with instant boiler | Floor 1 | 1 | 2000 | -7.8353 | 15 |  | 20 | 15 | Install energy efficient fridge | Floor 1 | 1 | 1200
* Master List is taken from the "Energy Data" sheet
* Chosen M1 is the actions which the user chooses in the Month1 Sheet
* Remaining actions - row #s : returns the row number of the remaining actions. This is used to fill the array for the following month.
* Remaining actions - action #s : uses whether or not there is a number in the preceding column to determine if the action is still available, and returns the action number if it is
* Remaining actions - sorted list : An 1:1 array is created from the beginng of the Month 1 available actions (i.e. the master list) and then populated in each cell using the row numbers to determine what actions remain available and sort from smallest to largest.
Note - to update with new actinos, need to make sure that the arrays in the columns capture the length of the new list (e.g. column S and equivalents)

## Calculations (hidden)
Calculations
Menus
[5 empty] | Energy Cost | Action cost
[8 empty] | Column1 | Column2
Month 0 |  |  |  |  | 3338.6869 |  |  | Show | Yes
|  |  | Action | Name |  |  |  | Hide | No
Month 1 | Selection 1 |  |  | #N/A | #N/A | #N/A
| Selection 2 |  |  | #N/A | #N/A | #N/A
| Month 1 energy cost |  |  |  | #N/A | #N/A
| Committed |  | No
| Error? |  | No
| Complete |  | No
Dashboard
Month 2 | Selection 1 |  |  | #N/A | #N/A | #N/A |  |  | Energy cost | Savings for month |  | Savings to date |  | Annualised savings | Month spend | Accumulated Investment | Net 1yr Saving | Net 5yr Saving
| Selection 2 |  |  | #N/A | #N/A | #N/A
| Selection 3 |  |  | #N/A | #N/A | #N/A | Month 0 |  | 3338.6869 | [7 empty] | 0 | 0
| Month 2 energy cost |  |  |  | #N/A | #N/A | Month 1 |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| Committed |  | No |  |  |  | Month 2 |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| Error? |  | No
| Complete |  | No |  |  |  | Month 3 |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| Months 1 and 2 complete |  | No
Month 3 | Selection 1 |  |  | #N/A | #N/A | #N/A
| Selection 2 |  |  | #N/A | #N/A | #N/A
| Selection 3 |  |  | #N/A | #N/A | #N/A
| Month 3 energy cost |  |  |  | #N/A | #N/A
| Committed |  | No
| Error? |  | No
| Complete |  | No

## Energy Data (hidden)
Energy Data - Office
Baseline
Initial values
[5 empty] | Energy $ p.a. | Energy $/mth
[5 empty] | -40064.2433 | -3338.6869
Energy balance (before)
| Energy cost per kWh | 0.3
| Office op hrs p.a. | 3000
| Office op hrs p.a. (winter) | 1200
| Office op hrs p.a. (summer) | 1800
| Item | Location | No. of | Av. Power (W) | Energy $ p.a. | Energy $/mnth | kWh | Source / Notes | Web Link
| Fluorescent batton light twin T8 | Floor 1 | 52 | 88 | -4118.4 | -343.2 |  | NSW Energy Savings Scheme Rule | https://www.ess.nsw.gov.au/Home/Document-Search/Legislation/Energy-Savings-Scheme-Rule-of-2009/Energy-Savings-Scheme-Rule-of-2009-30-March-2020
| Exit signs (fluorescent) | Floor 1 | 3 | 16 | -126.144 | -10.512 |  |  | https://energy.mo.gov/sites/energy/files/energy-star_save-energy-money-and-prevent-pollution-with-led-exit-signs.pdf
| Desktop computers (on 24/7) | Floor 1 | 28 | 75 | -5518.8 | -459.9 |  | Assume all of the computers left on 24/7 | https://www.energuide.be/en/questions-answers/how-much-power-does-a-computer-use-and-how-much-co2-does-that-represent/54/
| Electric fan heater | Floor 1 | 4 | 2400 | -3456 | -288 |  | Typical 10A electric fan heate
| Boiling water unit | Floor 1 | 1 | 155.037 | -407.4373 | -33.9531 |  | Heat 20 litres per day plus losses of 100%
| Large old fridge | Floor 1 | 1 | 194.0639 | -510 | -42.5 |  |  | https://www.cleanenergyresourceteams.org/your-old-refrigerator-energy-hog
| Dishwasher (2-star rating) | Floor 1 | 1 | 1200 | -187.2 | -15.6 |  |  | https://reductionrevolution.com.au/blogs/news-reviews/dishwasher-power-consumption-electricity-use
| Photocopier / printer (on 24/7) | Floor 1 | 2 | 300 | -1576.8 | -131.4 |  | Typical unit | https://www.tafesa.edu.au/docs/greening-tafesa/building_office_equipment.pdf
| Microwave oven (standby power) | Floor 1 | 1 | 3 | -7.884 | -0.657 |  | Typical unit | https://www.canstarblue.com.au/electricity/real-cost-using-microwave/
| Hot water taps (old) | Floor 1 | 3 | 38.7593 | -305.578 | -25.4648 |  | 100 litres of hot water usage per day, per tap
| HVAC system | Floor 1 | 1 | 19875 | -23850 | -1987.5 |  | Assume building is 0 star rated (NABERS base building). Therefore uses 954 MJ/m2 per annum. Assume operating hours 4000 p.a. (i.e. runs too long) to calculate average power. Office space = 300 m2. | https://www.nabers.gov.au/reverse-calculators
| Total energy cost p.a. |  |  |  | -40064.2433 | -3338.6869 | 133547.4778
Opportunities
| Item | Location | Capital (each) | Saving (%) | Floor 1 No. of | Floor 1 capital | Floor 1 saving / mnth | Source / Notes | Web Link
| Replace exit signs with LED version | Floor 1 | -200 | 68.75% | 3 | -600 | -7.227 |  | https://energy.mo.gov/sites/energy/files/energy-star_save-energy-money-and-prevent-pollution-with-led-exit-signs.pdf
| Implement standby on desktop computers | Floor 1 | 0 | 50% | 28 | 0 | -229.95 |  | https://www.energy.gov/energysaver/appliances-and-electronics/energy-efficient-computers-home-office-equipment-and
| Replace boiling water unit with Water heater (instantaneous) | Floor 1 | -2000 | 23.08% | 1 | -2000 | -7.8353 | Losses of 0%
| Install stickers reminding people to turn off lights | Floor 1 | -10 | 10% | 1 | -10 | -34.32 | Estimate
| Remove dishwasher and wash dishes by hand | Floor 1 | 0 | -10% | 1 | 0 | 1.56 |  | https://www.thinkenergy.com/common-energy-myths
| Purchase 4-star dishwasher | Floor 1 | -900 | 50% | 1 | -900 | -7.8 |  | https://reductionrevolution.com.au/blogs/news-reviews/dishwasher-power-consumption-electricity-use
| Remove Electric fan heaters | Floor 1 | 0 | 100% | 4 | 0 | -288 | Load removed entirely
| Install timer on boiling water unit | Floor 1 | -25 | 60% | 1 | -25 | -20.3719 | Estimate
| Purchase 4-star fridge | Floor 1 | -900 | 73.53% | 1 | -900 | -31.25 |  | https://www.harveynorman.com.au/energy-efficiency-fridge
| Implement standby on photocopiers | Floor 1 | 0 | 50% | 2 | 0 | -65.7 |  | https://www.tafesa.edu.au/docs/greening-tafesa/building_office_equipment.pdf
| Run existing HVAC system on economy cycle | Floor 1 | 0 | 10% | 1 | 0 | -198.75
| Remove microwave oven | Floor 1 | 0 | 100% | 1 | 0 | -0.657 | Load removed entirely
| Install timer on microwave oven | Floor 1 | -25 | 58.33% | 1 | -25 | -0.38325 |  | https://www.canstarblue.com.au/electricity/real-cost-using-microwave/
| Install water efficient hot water taps | Floor 1 | -100 | 50% | 3 | -300 | -12.7324 | Flow rate reduced 50%
| Install worm farm fed with waste coffee grounds | Floor 1 | -200 | 1 | 1 | -200 | 0 | No energy benefit
| Install new A/C system | Floor 1 | -7500 | 30% | -7500 |  |  | Energy rating calculator | https://reg.energyrating.gov.au/comparator/product_types/64/search/?wrapper_search=&expired_products=on&brand_names=toshiba&model_number=&installation_type=Single+Split+System&cycle_type=&output_mode=output_heating&output_range=
| Install new A/C system (inverter) | Floor 1 | -10000 | 50% | -10000 |  |  | Energy rating calculator | https://reg.energyrating.gov.au/comparator/product_types/64/search/?wrapper_search=&expired_products=on&brand_names=toshiba&model_number=&installation_type=Single+Split+System&cycle_type=&output_mode=output_heating&output_range=
| Install 25kW solar system | Floor 1 | -40000 | 1 | -40000 |  |  | Recent solar quote: $8k for 5kW system, saving $2500 p.a.
| Install 10kW solar system | Floor 1 | -16000 | 1 | -16000 | 4.5 hrs per day full solar therefore 45kw hours per day |  | Recent solar quote: $8k for 5kW system, saving $2500 p.a.
| Install automated blinds for external windows | Floor 1 | -10000 | 25% | -10000 |  | 16425 | Estimate
| Replace window glass to high-E | Floor 1 | -10000 | 20% | -10000 |  | 41062.5 |  | https://www.clickenergy.com.au/news-blog/how-much-will-energy-efficient-windows-save-you
| Install motion detectors for lights | Floor 1 | -7500 | 30% | -7500 |  | 200 sq metres 100 panels, 300w each |  | https://www.ess.nsw.gov.au/Home/Document-Search/Legislation/Energy-Savings-Scheme-Rule-of-2009/Energy-Savings-Scheme-Rule-of-2009-30-March-2020
| ? Turn off automatic lighting | [5 empty] | 35kw
1 panel for 2 sq metres
| LED replacement for Fluorescent light twin T8 (high quality) | Floor 1 | -200 | 75% | 20000 |  |  | NSW Energy Savings Scheme Rule | https://www.ess.nsw.gov.au/Home/Document-Search/Legislation/Energy-Savings-Scheme-Rule-of-2009/Energy-Savings-Scheme-Rule-of-2009-30-March-2020
| LED replacement for Fluorescent light twin T8 (low quality) | Floor 1 | -100 | 50% | 10000 |  |  | NSW Energy Savings Scheme Rule | https://www.ess.nsw.gov.au/Home/Document-Search/Legislation/Energy-Savings-Scheme-Rule-of-2009/Energy-Savings-Scheme-Rule-of-2009-30-March-2020
| T5 replacement for Fluorescent light twin T8 | Floor 1 | -150 | 31.82% | 15000 |  |  | NSW Energy Savings Scheme Rule | https://www.ess.nsw.gov.au/Home/Document-Search/Legislation/Energy-Savings-Scheme-Rule-of-2009/Energy-Savings-Scheme-Rule-of-2009-30-March-2020
| Turn off AC for last hour of work day | Floor 1 | 0 | 10% | 0 |  |  | Remove load for 1 of 10 hours/day
| Close vents in unoccupied rooms |  |  | -10%
https://www.thinkenergy.com/common-energy-myths
Opportunities (manually) sorted by cost - Source for Options tab
Action ID | Item | Location | Capital (each) | Saving (%) | Floor 1 No. of | Floor 1 capital | Floor 1 saving / mnth
1 | Implement standby on desktop computers | Floor 1 | 0 | 50% | 28 | 0 | -230
2 | Remove dishwasher and wash dishes by hand | Floor 1 | 0 | -10% | 1 | 0 | 1.56
3 | Remove Electric fan heaters | Floor 1 | 0 | 100% | 4 | 0 | -288
4 | Run existing HVAC system on economy cycle | Floor 1 | 0 | 10% | 1 | 0 | -199
5 | Implement standby on photocopiers | Floor 1 | 0 | 50% | 2 | 0 | -65.7
6 | Remove microwave oven | Floor 1 | 0 | 100% | 1 | 0 | -0.657
7 | Install stickers reminding people to turn off lights | Floor 1 | -10 | 10% | 1 | -10 | -20.46
8 | Install timer on boiling water unit | Floor 1 | -25 | 60% | 1 | -25 | -20.3719
9 | Install timer on microwave oven | Floor 1 | -25 | 58.33% | 1 | -25 | -0.38325
10 | Install water efficient hot water taps | Floor 1 | -100 | 50% | 3 | -100 | -12.7324
11 | Install worm farm fed with waste coffee grounds | Floor 1 | -200 | 100% | 1 | -200 | 0.0001
12 | Replace exit signs with LED version | Floor 1 | -200 | 68.75% | 3 | -600 | -7.227
13 | Purchase 4-star dishwasher | Floor 1 | -900 | 50% | 1 | -900 | -7.8
14 | Install energy efficient fridge | Floor 1 | -1200 | 73.53% | 1 | -1200 | -31.25
15 | Replace boiling water unit with instant boiler | Floor 1 | -2000 | 23.08% | 1 | -2000 | -7.8353

## Major inv data (hidden)
Install new A/C system |  | Floor 1 | -7500 | 30% | -7500 |  |  |  | Energy rating calculator | https://reg.energyrating.gov.au/comparator/product_types/64/search/?wrapper_search=&expired_products=on&brand_names=toshiba&model_number=&installation_type=Single+Split+System&cycle_type=&output_mode=output_heating&output_range=
Install new A/C system (inverter) |  | Floor 1 | -10000 | 50% | -10000 |  |  |  | Energy rating calculator | https://reg.energyrating.gov.au/comparator/product_types/64/search/?wrapper_search=&expired_products=on&brand_names=toshiba&model_number=&installation_type=Single+Split+System&cycle_type=&output_mode=output_heating&output_range=
Install 25kW solar system |  | Floor 1 | -40000 | 1 | -40000 |  |  |  | Recent solar quote: $8k for 5kW system, saving $2500 p.a.
Install 10kW solar system |  | Floor 1 | -16000 | 1 | -16000 | 4.5 hrs per day full solar therefore 45kw hours per day |  |  | Recent solar quote: $8k for 5kW system, saving $2500 p.a.
Install automated blinds for external windows |  | Floor 1 | -10000 | 25% | -10000 |  | 16425 |  | Estimate
Replace window glass to high-E |  | Floor 1 | -10000 | 20% | -10000 |  | 41062.5 |  |  | https://www.clickenergy.com.au/news-blog/how-much-will-energy-efficient-windows-save-you
Install motion detectors for lights |  | Floor 1 | -7500 | 30% | -7500 |  | 200 sq metres 100 panels, 300w each |  |  | https://www.ess.nsw.gov.au/Home/Document-Search/Legislation/Energy-Savings-Scheme-Rule-of-2009/Energy-Savings-Scheme-Rule-of-2009-30-March-2020
? Turn off automatic lighting | [6 empty] | 35kw
1 panel for 2 sq metres
LED replacement for Fluorescent light twin T8 (high quality) |  | Floor 1 | -200 | 75% | #REF! |  |  |  | NSW Energy Savings Scheme Rule | https://www.ess.nsw.gov.au/Home/Document-Search/Legislation/Energy-Savings-Scheme-Rule-of-2009/Energy-Savings-Scheme-Rule-of-2009-30-March-2020
LED replacement for Fluorescent light twin T8 (low quality) |  | Floor 1 | -100 | 50% | #REF! |  |  |  | NSW Energy Savings Scheme Rule | https://www.ess.nsw.gov.au/Home/Document-Search/Legislation/Energy-Savings-Scheme-Rule-of-2009/Energy-Savings-Scheme-Rule-of-2009-30-March-2020
T5 replacement for Fluorescent light twin T8 |  | Floor 1 | -150 | 31.82% | #REF! |  |  |  | NSW Energy Savings Scheme Rule | https://www.ess.nsw.gov.au/Home/Document-Search/Legislation/Energy-Savings-Scheme-Rule-of-2009/Energy-Savings-Scheme-Rule-of-2009-30-March-2020
Turn off AC for last hour of work day |  | Floor 1 | 0 | 10% | 0 |  |  |  | Remove load for 1 of 10 hours/day
Close vents in unoccupied rooms |  |  |  | -10%
https://www.thinkenergy.com/common-energy-myths
Energy price
Current item | Current qty | Current usage / unit | Current total annual cost |  | Upgrade item | Upgrade cost | Yearly saving | Net 1 year saving | Net 5 year saving | Net 10 year saving
A/C system

## Feedback Data (hidden)
Feedback
Beginning Month 2 Feedback
IF Month 1 complete: | IF Month 1 incomplete:
Well done on taking some energy saving initiatives! | Complete Month 1 before considering Month 2!!
Your boss is very happy to see some action being taken.
You have now been allocated a small budget ($250) which you can use in month 2.
Any unused amounts will carry forward to month 3.
As you're getting more experienced, you can take three actions this month.
Good luck!!
Beginning Month 3 Feedback
IF Months 1 and 2 complete: | IF Months 1 and 2 incomplete:
Congratulations on your work so far! | Complete Months 1 and 2 before considering Month 3!!
Your boss is impressed by your enthusiasm.
You have now been allocated an additional $2000 which you can use this month.
You can take three actions - make them count!
Good luck!!
End Month 3 Feedback
Now you've completed Month 3,
go to the Final feedback tab to see how you went!

## Final feedback Data (hidden)
Summary
| Your 8 choices included: |  |  | 0 | of the top 8
Good job! See below for the estimated impact of all the available choices and further resources
Your actions
| Month | Action | Action # |  | Item | Location | Cost | Top 8 Action?
| 1 | 1 |  |  | #N/A | #N/A | #N/A | No
| 1 | 2 |  |  | #N/A | #N/A | #N/A | No
| 2 | 1 |  |  | #N/A | #N/A | #N/A | No
| 2 | 2 |  |  | #N/A | #N/A | #N/A | No
| 2 | 3 |  |  | #N/A | #N/A | #N/A | No
| 3 | 1 |  |  | #N/A | #N/A | #N/A | No
| 3 | 2 |  |  | #N/A | #N/A | #N/A | No
| 3 | 3 |  |  | #N/A | #N/A | #N/A | No
Best actions (sorted by net 5 year energy savings)
|  | Rank | Action # |  | Item | Location | Cost | Monthly savings | Net 1 year savings | Net 5 year savings | More information
|  | 1 | 3 |  | Remove Electric fan heaters | Floor 1 | 0 | 288 | 3456 | 17280
|  | 2 | 1 |  | Implement standby on desktop computers | Floor 1 | 0 | 230 | 2760 | 13800
|  | 3 | 4 |  | Run existing HVAC system on economy cycle | Floor 1 | 0 | 199 | 2388 | 11940
|  | 4 | 5 |  | Implement standby on photocopiers | Floor 1 | 0 | 65.7 | 788.4 | 3942
|  | 5 | 7 |  | Install stickers reminding people to turn off lights | Floor 1 | 10 | 20.46 | 235.52 | 1217.6
|  | 6 | 8 |  | Install timer on boiling water unit | Floor 1 | 25 | 20.3719 | 219.4628 | 1197.314
|  | 7 | 14 |  | Install energy efficient fridge | Floor 1 | 1200 | 31.25 | -825 | 675
|  | 8 | 10 |  | Install water efficient hot water taps | Floor 1 | 100 | 12.7324 | 52.7888 | 663.944
|  | 9 | 6 |  | Remove microwave oven | Floor 1 | 0 | 0.657 | 7.884 | 39.42
|  | 10 | 9 |  | Install timer on microwave oven | Floor 1 | 25 | 0.3833 | -20.4004 | -2.002
|  | 11 | 2 |  | Remove dishwasher and wash dishes by hand | Floor 1 | 0 | -1.56 | -18.72 | -93.6
|  | 12 | 12 |  | Replace exit signs with LED version | Floor 1 | 600 | 7.227 | -513.276 | -166.38
|  | 13 | 11 |  | Install worm farm fed with waste coffee grounds | Floor 1 | 200 | 0 | -200 | -200
|  | 14 | 13 |  | Purchase 4-star dishwasher | Floor 1 | 900 | 7.8 | -806.4 | -432
|  | 15 | 15 |  | Replace boiling water unit with instant boiler | Floor 1 | 2000 | 7.8353 | -1905.9764 | -1529.882

## Opp by saving (hidden)
Action ID | Item | Location | Capital (each) | Saving (%) | Floor 1 No. of | Floor 1 capital | Floor 1 saving / mnth | Net 1 yr saving | Net 5 year saving
3 | Remove Electric fan heaters | Floor 1 | 0 | 1 | 4 | 0 | -288 | -3456 | -17280
1 | Implement standby on desktop computers | Floor 1 | 0 | 0.5 | 28 | 0 | -230 | -2760 | -13800
4 | Run existing HVAC system on economy cycle | Floor 1 | 0 | 0.1 | 1 | 0 | -199 | -2388 | -11940
5 | Implement standby on photocopiers | Floor 1 | 0 | 0.5 | 2 | 0 | -65.7 | -788.4 | -3942
7 | Install stickers reminding people to turn off lights | Floor 1 | -10 | 0.1 | 1 | -10 | -20.46 | -235.52 | -1217.6
8 | Install timer on boiling water unit | Floor 1 | -25 | 0.6 | 1 | -25 | -20.3719 | -219.4628 | -1197.314
14 | Install energy efficient fridge | Floor 1 | -1200 | 0.73529 | 1 | -1200 | -31.25 | 825 | -675
10 | Install water efficient hot water taps | Floor 1 | -100 | 0.5 | 3 | -100 | -12.7324 | -52.7888 | -663.944
6 | Remove microwave oven | Floor 1 | 0 | 1 | 1 | 0 | -0.657 | -7.884 | -39.42
9 | Install timer on microwave oven | Floor 1 | -25 | 0.58333 | 1 | -25 | -0.3833 | 20.4004 | 2.002
2 | Remove dishwasher and wash dishes by hand | Floor 1 | 0 | -0.1 | 1 | 0 | 1.56 | 18.72 | 93.6
12 | Replace exit signs with LED version | Floor 1 | -200 | 0.6875 | 3 | -600 | -7.227 | 513.276 | 166.38
11 | Install worm farm fed with waste coffee grounds | Floor 1 | -200 | 1 | 1 | -200 | 0 | 200 | 200
13 | Purchase 4-star dishwasher | Floor 1 | -900 | 0.5 | 1 | -900 | -7.8 | 806.4 | 432
15 | Replace boiling water unit with instant boiler | Floor 1 | -2000 | 0.23077 | 1 | -2000 | -7.8353 | 1905.9764 | 1529.882

## Development notes (hidden)
Selecting actions
When an action is selected, this is just from the data valaidation list